## baseline
| status | gross_power | eff | main_steam_pressure | main_steam_pressure (MPa) | main_steam_temperature | fheat_ww | o2pct | fheat_platen | gross_power | gross_power (MW) | throttle_pressure | throttle_pressure (MPa) | reheat_steam_temperature | coal_flow | net_power | net_power (MW) | boost_suction_T | boost_suction_Tsat | boost_suction_P |  | boost_suction_Psat |  | boost_suction_Fmass | bfp_suction_T | bfp_suction_Tsat | bfp_suction_P | bfp_suction_Psat | bfp_suction_Fmass | econ_outlet_T | econ_outlet_Tsat | last_stage_in_x | last_stage_out_x | nox_ppm_2b | nox_ppm_3b | fegt | nox | econ below boiling
10000000 | optimal - Optimal Solution Found | 219152550.8116 | 34.4502 | 11981000 | 11.981 | 811.1569 | 0.9634 | 3 | 0.98 | 219152550.8116 | 219.1526 | 10000000 | 10 | 808.7586 | 29 | 205273914.3953 | 205.2739 | 436.9423 | 442.8831 | 787069.69 | 0.78707 | 680173.5405 | 0.68017 | 182.1731 | 437.0791 | 472.0054 | 1518043.747 | 682497.6692 | 182.1731 | 507.3774 | 605.5738 | 1 | 0.95141 | 113.3142 | 137.2424 | 1334.841 | 137.2424 | 98.1964
9877551.0204 | optimal - Optimal Solution Found | 216563168.5239 | 34.4519 | 11925395.9184 | 11.9254 | 811.4482 | 0.96601 | 3 | 0.98 | 216563168.5239 | 216.5632 | 9877551.0204 | 9.8776 | 809.4042 | 28.6471 | 202786063.0161 | 202.7861 | 436.4767 | 442.463 | 779099.0077 | 0.7791 | 672309.6136 | 0.67231 | 179.7498 | 436.6144 | 471.9716 | 1516965.7109 | 674627.9482 | 179.7498 | 506.8444 | 605.1246 | 1 | 0.95181 | 113.1737 | 138.4128 | 1332.483 | 138.4128 | 98.2803
9755102.0408 | optimal - Optimal Solution Found | 213967576.3846 | 34.4526 | 11869791.8367 | 11.8698 | 811.7186 | 0.96863 | 3 | 0.98 | 213967576.3846 | 213.9676 | 9755102.0408 | 9.7551 | 810.0333 | 28.2939 | 200290138.4023 | 200.2901 | 436.0061 | 442.0388 | 771116.3634 | 0.77112 | 664435.7809 | 0.66444 | 177.3329 | 436.1447 | 471.9316 | 1515690.5715 | 666747.2139 | 177.3329 | 506.3045 | 604.6742 | 1 | 0.9522 | 113.0225 | 139.5787 | 1330.0816 | 139.5787 | 98.3698
9632653.0612 | optimal - Optimal Solution Found | 211364928.5146 | 34.4521 | 11814187.7551 | 11.8142 | 811.9707 | 0.97124 | 3 | 0.98 | 211364928.5146 | 211.3649 | 9632653.0612 | 9.6327 | 810.636 | 27.9405 | 197785285.4539 | 197.7853 | 435.5303 | 441.6104 | 763118.4737 | 0.76312 | 656548.8471 | 0.65655 | 174.9227 | 435.6697 | 471.8854 | 1514218.5747 | 658852.2909 | 174.9227 | 505.7573 | 604.2227 | 1 | 0.95258 | 112.8599 | 140.7395 | 1327.6371 | 140.7395 | 98.4653
9510204.0816 | optimal - Optimal Solution Found | 208756080.7797 | 34.4505 | 11758583.6735 | 11.7586 | 812.2022 | 0.97386 | 3 | 0.98 | 208756080.7797 | 208.7561 | 9510204.0816 | 9.5102 | 811.2193 | 27.5867 | 195272404.2507 | 195.2724 | 435.0492 | 441.1776 | 755107.8778 | 0.75511 | 648651.2795 | 0.64865 | 172.5188 | 435.1894 | 471.8333 | 1512558.4661 | 650945.694 | 172.5188 | 505.203 | 603.7699 | 1 | 0.95295 | 112.686 | 141.8959 | 1325.149 | 141.8959 | 98.5669
9387755.102 | optimal - Optimal Solution Found | 206140990.3414 | 34.4478 | 11702979.5918 | 11.703 | 812.4115 | 0.97648 | 3 | 0.98 | 206140990.3414 | 206.141 | 9387755.102 | 9.3878 | 811.7826 | 27.2328 | 192751475.8044 | 192.7515 | 434.5628 | 440.7405 | 747084.6358 | 0.74708 | 640743.1385 | 0.64074 | 170.1212 | 434.7038 | 471.7753 | 1510714.9009 | 643027.517 | 170.1212 | 504.6412 | 603.3159 | 1 | 0.95332 | 112.5005 | 143.0475 | 1322.6172 | 143.0475 | 98.6747
9265306.1224 | optimal - Optimal Solution Found | 203518567.6204 | 34.4437 | 11647375.5102 | 11.6474 | 812.6042 | 0.9791 | 3 | 0.98 | 203518567.6204 | 203.5186 | 9265306.1224 | 9.2653 | 812.3119 | 26.8785 | 190221387.4814 | 190.2214 | 434.0707 | 440.2987 | 739044.0153 | 0.73904 | 632819.8156 | 0.63282 | 167.7305 | 434.2124 | 471.7115 | 1508686.4524 | 635093.163 | 167.7305 | 504.0715 | 602.8608 | 1 | 0.95368 | 112.3025 | 144.1937 | 1320.0419 | 144.1937 | 98.7892
9142857.1429 | optimal - Optimal Solution Found | 200890379.5813 | 34.4384 | 11591771.4286 | 11.5918 | 812.7733 | 0.98172 | 3 | 0.98 | 200890379.5813 | 200.8904 | 9142857.1429 | 9.1429 | 812.8227 | 26.524 | 187683778.1676 | 187.6838 | 433.573 | 439.8525 | 730991.6965 | 0.73099 | 624886.8401 | 0.62489 | 165.3458 | 433.7154 | 471.6422 | 1506485.4513 | 627148.2196 | 165.3458 | 503.4941 | 602.4044 | 1 | 0.95403 | 112.0925 | 145.3353 | 1317.4225 | 145.3353 | 98.9104
9020408.1633 | optimal - Optimal Solution Found | 198256900.6327 | 34.4319 | 11536167.3469 | 11.5362 | 812.919 | 0.98435 | 3 | 0.98 | 198256900.6327 | 198.2569 | 9020408.1633 | 9.0204 | 813.3184 | 26.1694 | 185139149.397 | 185.1391 | 433.0697 | 439.4017 | 722928.3837 | 0.72293 | 616944.8911 | 0.61694 | 162.9667 | 433.2127 | 471.5675 | 1504118.0224 | 619193.4016 | 162.9667 | 502.9087 | 601.9469 | 1 | 0.95437 | 111.8704 | 146.4729 | 1314.7586 | 146.4729 | 99.0382
8897959.1837 | optimal - Optimal Solution Found | 195615984.8661 | 34.4238 | 11480563.2653 | 11.4806 | 813.0467 | 0.98697 | 3 | 0.98 | 195615984.8661 | 195.616 | 8897959.1837 | 8.898 | 813.7624 | 25.8144 | 182585300.7904 | 182.5853 | 432.5599 | 438.9456 | 714842.4787 | 0.71484 | 608982.6857 | 0.60898 | 160.595 | 432.7035 | 471.4872 | 1501572.9412 | 611217.4025 | 160.595 | 502.3153 | 601.4882 | 1 | 0.9547 | 111.6353 | 147.6047 | 1312.0506 | 147.6047 | 99.1729
8775510.2041 | optimal - Optimal Solution Found | 192968774.7277 | 34.4144 | 11424959.1837 | 11.425 | 813.1538 | 0.9896 | 3 | 0.98 | 192968774.7277 | 192.9688 | 8775510.2041 | 8.7755 | 814.1709 | 25.4592 | 180023430.2528 | 180.0234 | 432.0438 | 438.4844 | 706739.8152 | 0.70674 | 601005.9012 | 0.60101 | 158.2297 | 432.188 | 471.4015 | 1498862.739 | 603225.9562 | 158.2297 | 501.7134 | 601.0283 | 1 | 0.95502 | 111.3871 | 148.7315 | 1309.298 | 148.7315 | 99.3149
8653061.2245 | optimal - Optimal Solution Found | 190317310.3309 | 34.4037 | 11369355.102 | 11.3694 | 813.2329 | 0.99223 | 3 | 0.98 | 190317310.3309 | 190.3173 | 8653061.2245 | 8.6531 | 814.5699 | 25.1038 | 177455660.2069 | 177.4557 | 431.5218 | 438.0186 | 698629.0178 | 0.69863 | 593022.9314 | 0.59302 | 155.8695 | 431.6665 | 471.3109 | 1496003.2765 | 595227.5244 | 155.8695 | 501.103 | 600.5672 | 1 | 0.95533 | 111.1261 | 149.8547 | 1306.4997 | 149.8547 | 99.4642
8530612.2449 | optimal - Optimal Solution Found | 187660713.6697 | 34.3916 | 11313751.0204 | 11.3138 | 813.2874 | 0.99486 | 3 | 0.98 | 187660713.6697 | 187.6607 | 8530612.2449 | 8.5306 | 814.9478 | 24.7484 | 174881099.8862 | 174.8811 | 430.9936 | 437.5477 | 690506.6347 | 0.69051 | 585030.4208 | 0.58503 | 153.5149 | 431.1388 | 471.2155 | 1492994.1205 | 587218.7629 | 153.5149 | 500.4835 | 600.1049 | 1 | 0.95564 | 110.8514 | 150.9734 | 1303.6559 | 150.9734 | 99.6214
8408163.2653 | optimal - Optimal Solution Found | 184998271.9741 | 34.3778 | 11258146.9388 | 11.2581 | 813.3183 | 0.99749 | 3 | 0.98 | 184998271.9741 | 184.9983 | 8408163.2653 | 8.4082 | 815.2956 | 24.3927 | 172299038.6645 | 172.299 | 430.4587 | 437.0716 | 682370.3572 | 0.68237 | 577026.1281 | 0.57703 | 151.1664 | 430.6044 | 471.1152 | 1489836.2577 | 579197.4464 | 151.1664 | 499.8545 | 599.6414 | 1 | 0.95594 | 110.5625 | 152.0871 | 1300.7662 | 152.0871 | 99.7869
8285714.2857 | optimal - Optimal Solution Found | 182330573.8851 | 34.3625 | 11202542.8571 | 11.2025 | 813.3229 | 1.0001 | 3 | 0.98 | 182330573.8851 | 182.3306 | 8285714.2857 | 8.2857 | 815.6188 | 24.0369 | 169710103.0917 | 169.7101 | 429.9173 | 436.5903 | 674222.003 | 0.67422 | 569011.8229 | 0.56901 | 148.8235 | 430.0634 | 471.0102 | 1486536.4491 | 571165.3791 | 148.8235 | 499.2158 | 599.1766 | 1 | 0.95623 | 110.2591 | 153.1961 | 1297.83 | 153.1961 | 99.9608
8163265.3061 | optimal - Optimal Solution Found | 179657543.0742 | 34.3456 | 11146938.7755 | 11.1469 | 813.3029 | 1.0028 | 3 | 0.98 | 179657543.0742 | 179.6575 | 8163265.3061 | 8.1633 | 815.9142 | 23.6809 | 167114225.4337 | 167.1142 | 429.3689 | 436.1036 | 666060.5641 | 0.66606 | 560986.5248 | 0.56099 | 146.4863 | 429.5154 | 470.9006 | 1483097.77 | 563121.6019 | 146.4863 | 498.5671 | 598.7107 | 1 | 0.95651 | 109.9409 | 154.3004 | 1294.8468 | 154.3004 | 100.1436
8040816.3265 | optimal - Optimal Solution Found | 176978997.158 | 34.3269 | 11091334.6939 | 11.0913 | 813.2566 | 1.0054 | 3 | 0.98 | 176978997.158 | 176.979 | 8040816.3265 | 8.0408 | 816.1784 | 23.3247 | 164511242.7785 | 164.5112 | 428.8135 | 435.6112 | 657885.7893 | 0.65789 | 552949.9973 | 0.55295 | 144.1548 | 428.9604 | 470.7865 | 1479523.6212 | 555065.901 | 144.1548 | 497.9081 | 598.2436 | 1 | 0.95679 | 109.6073 | 155.3997 | 1291.8163 | 155.3997 | 100.3356
7918367.3469 | optimal - Optimal Solution Found | 174295647.5258 | 34.3064 | 11035730.6122 | 11.0357 | 813.1825 | 1.008 | 3 | 0.98 | 174295647.5258 | 174.2956 | 7918367.3469 | 7.9184 | 816.4178 | 22.9685 | 161901899.7298 | 161.9019 | 428.251 | 435.1133 | 649699.3655 | 0.6497 | 544903.8808 | 0.5449 | 141.8287 | 428.3982 | 470.668 | 1475820.6131 | 546999.9488 | 141.8287 | 497.2384 | 597.7753 | 1 | 0.95705 | 109.2583 | 156.4945 | 1288.7374 | 156.4945 | 100.5369
7795918.3673 | optimal - Optimal Solution Found | 171607288.2812 | 34.2841 | 10980126.5306 | 10.9801 | 813.0801 | 1.0107 | 3 | 0.98 | 171607288.2812 | 171.6073 | 7795918.3673 | 7.7959 | 816.6284 | 22.6121 | 159286004.8692 | 159.286 | 427.681 | 434.6096 | 641500.644 | 0.6415 | 536847.5512 | 0.53685 | 139.5081 | 427.8285 | 470.5452 | 1471991.6633 | 538923.141 | 139.5081 | 496.5578 | 597.3059 | 1 | 0.95731 | 108.8932 | 157.5845 | 1285.6097 | 157.5845 | 100.7481
7673469.3878 | optimal - Optimal Solution Found | 168913816.7381 | 34.2597 | 10924522.449 | 10.9245 | 812.9491 | 1.0133 | 3 | 0.98 | 168913816.7381 | 168.9138 | 7673469.3878 | 7.6735 | 816.8068 | 22.2556 | 156663469.7808 | 156.6635 | 427.1034 | 434.0999 | 633289.0744 | 0.63329 | 528780.4787 | 0.52878 | 137.193 | 427.2511 | 470.4183 | 1468039.9289 | 530834.9675 | 137.193 | 495.8657 | 596.8352 | 1 | 0.95756 | 108.5116 | 158.6697 | 1282.4326 | 158.6697 | 100.9695
7551020.4082 | optimal - Optimal Solution Found | 166215840.8567 | 34.2334 | 10868918.3673 | 10.8689 | 812.7876 | 1.0159 | 3 | 0.98 | 166215840.8567 | 166.2158 | 7551020.4082 | 7.551 | 816.9586 | 21.899 | 154034935.1355 | 154.0349 | 426.518 | 433.5843 | 625066.2336 | 0.62507 | 520704.1998 | 0.5207 | 134.883 | 426.666 | 470.2873 | 1463971.5056 | 522736.9938 | 134.883 | 495.1619 | 596.3634 | 1 | 0.95779 | 108.1132 | 159.7504 | 1279.2048 | 159.7504 | 101.2014
7428571.4286 | optimal - Optimal Solution Found | 163513363.924 | 34.2051 | 10813314.2857 | 10.8133 | 812.594 | 1.0186 | 3 | 0.98 | 163513363.924 | 163.5134 | 7428571.4286 | 7.4286 | 817.0825 | 21.5423 | 151400424.6308 | 151.4004 | 425.9246 | 433.0625 | 616832.1147 | 0.61683 | 512618.7148 | 0.51262 | 132.5782 | 426.0729 | 470.1524 | 1459790.0618 | 514629.2409 | 132.5782 | 494.4461 | 595.8903 | 1 | 0.95803 | 107.6975 | 160.8266 | 1275.9257 | 160.8266 | 101.4443
7306122.449 | optimal - Optimal Solution Found | 160806064.7483 | 34.1744 | 10757710.2041 | 10.7577 | 812.3687 | 1.0212 | 3 | 0.98 | 160806064.7483 | 160.8061 | 7306122.449 | 7.3061 | 817.172 | 21.1855 | 148759625.7651 | 148.7596 | 425.3229 | 432.5343 | 608585.5087 | 0.60859 | 504522.8557 | 0.50452 | 130.2788 | 425.4714 | 470.0136 | 1455497.6911 | 506510.5553 | 130.2788 | 493.7176 | 595.4161 | 1 | 0.95825 | 107.2639 | 161.8979 | 1272.5943 | 161.8979 | 101.6985
7183673.4694 | optimal - Optimal Solution Found | 158094385.0512 | 34.1415 | 10702106.1224 | 10.7021 | 812.1101 | 1.0239 | 3 | 0.98 | 158094385.0512 | 158.0944 | 7183673.4694 | 7.1837 | 817.2307 | 20.8287 | 146113007.7085 | 146.113 | 424.7128 | 431.9996 | 600327.4237 | 0.60033 | 496417.6076 | 0.49642 | 127.9844 | 424.8614 | 469.8711 | 1451099.554 | 498381.9464 | 127.9844 | 492.9762 | 594.9408 | 1 | 0.95846 | 106.812 | 162.9646 | 1269.2095 | 162.9646 | 101.9646
7061224.4898 | optimal - Optimal Solution Found | 155378674.0728 | 34.1062 | 10646502.0408 | 10.6465 | 811.8152 | 1.0265 | 3 | 0.98 | 155378674.0728 | 155.3787 | 7061224.4898 | 7.0612 | 817.262 | 20.4718 | 143460950.8064 | 143.461 | 424.0939 | 431.4584 | 592058.9549 | 0.59206 | 488304.0427 | 0.4883 | 125.6949 | 424.2427 | 469.7249 | 1446600.6744 | 490244.5101 | 125.6949 | 492.2213 | 594.4642 | 1 | 0.95867 | 106.3414 | 164.027 | 1265.7699 | 164.027 | 102.2429
6938775.5102 | optimal - Optimal Solution Found | 152658430.6285 | 34.0684 | 10590897.9592 | 10.5909 | 811.4839 | 1.0292 | 3 | 0.98 | 152658430.6285 | 152.6584 | 6938775.5102 | 6.9388 | 817.2574 | 20.1148 | 140802961.6671 | 140.803 | 423.4661 | 430.9103 | 583778.531 | 0.58378 | 480180.6437 | 0.48018 | 123.4106 | 423.6149 | 469.5751 | 1442002.4559 | 482096.7397 | 123.4106 | 491.4525 | 593.9865 | 1 | 0.95886 | 105.8513 | 165.0844 | 1262.2744 | 165.0844 | 102.5341
6816326.5306 | optimal - Optimal Solution Found | 149933620.7517 | 34.0278 | 10535293.8776 | 10.5353 | 811.1186 | 1.0318 | 3 | 0.98 | 149933620.7517 | 149.9336 | 6816326.5306 | 6.8163 | 817.2127 | 19.7577 | 138139011.4528 | 138.139 | 422.8287 | 430.3551 | 575485.0822 | 0.57549 | 472046.3752 | 0.47205 | 121.1314 | 422.9777 | 469.4218 | 1437307.4152 | 473937.6133 | 121.1314 | 490.6691 | 593.5077 | 1 | 0.95905 | 105.3411 | 166.1371 | 1258.7219 | 166.1371 | 102.8386
6693877.551 | optimal - Optimal Solution Found | 147204646.2139 | 33.9845 | 10479689.7959 | 10.4797 | 810.7125 | 1.0344 | 3 | 0.98 | 147204646.2139 | 147.2046 | 6693877.551 | 6.6939 | 817.1328 | 19.4007 | 135469545.8879 | 135.4695 | 422.1819 | 429.7927 | 567180.6098 | 0.56718 | 463903.1964 | 0.4639 | 118.8572 | 422.3309 | 469.2651 | 1432521.2262 | 465769.1152 | 118.8572 | 489.8707 | 593.0277 | 1 | 0.95923 | 104.8103 | 167.185 | 1255.1104 | 167.185 | 103.157
6571428.5714 | optimal - Optimal Solution Found | 144472159.9404 | 33.9383 | 10424085.7143 | 10.4241 | 810.2635 | 1.0371 | 3 | 0.98 | 144472159.9404 | 144.4722 | 6571428.5714 | 6.5714 | 817.0247 | 19.0436 | 132795248.9404 | 132.7952 | 421.5252 | 429.2231 | 558866.566 | 0.55887 | 455752.5247 | 0.45575 | 116.5875 | 421.6743 | 469.1052 | 1427649.4627 | 457592.686 | 116.5875 | 489.0569 | 592.5466 | 1 | 0.9594 | 104.2584 | 168.2287 | 1251.4379 | 168.2287 | 103.4897
6448979.5918 | optimal - Optimal Solution Found | 141735601.6541 | 33.889 | 10368481.6327 | 10.3685 | 809.7723 | 1.0397 | 3 | 0.98 | 141735601.6541 | 141.7356 | 6448979.5918 | 6.449 | 816.8782 | 18.6864 | 130115563.6379 | 130.1156 | 420.8583 | 428.6458 | 550540.943 | 0.55054 | 447592.4196 | 0.44759 | 114.3226 | 421.0074 | 468.9421 | 1422692.9426 | 449406.3917 | 114.3226 | 488.2269 | 592.0643 | 1 | 0.95956 | 103.6847 | 169.2678 | 1247.703 | 169.2678 | 103.8375
6326530.6122 | optimal - Optimal Solution Found | 138994202.5864 | 33.8362 | 10312877.551 | 10.3129 | 809.2404 | 1.0424 | 3 | 0.98 | 138994202.5864 | 138.9942 | 6326530.6122 | 6.3265 | 816.6791 | 18.3292 | 127429720.169 | 127.4297 | 420.1805 | 428.0605 | 542201.187 | 0.5422 | 439420.4124 | 0.43942 | 112.0631 | 420.3296 | 468.7757 | 1417651.6976 | 441207.7669 | 112.0631 | 487.3798 | 591.581 | 1 | 0.9597 | 103.0881 | 170.3014 | 1243.904 | 103.0881 | 104.2012
6204081.6327 | optimal - Optimal Solution Found | 136248273.8359 | 33.7798 | 10257273.4694 | 10.2573 | 808.6663 | 1.045 | 3 | 0.98 | 136248273.8359 | 136.2483 | 6204081.6327 | 6.2041 | 816.4286 | 17.972 | 124738052.7809 | 124.7381 | 419.4916 | 427.467 | 533847.8189 | 0.53385 | 431237.0198 | 0.43124 | 109.8087 | 419.6407 | 468.6062 | 1412529.8596 | 432997.3452 | 109.8087 | 486.5152 | 591.0966 | 1 | 0.95984 | 102.4681 | 171.3297 | 1240.0386 | 102.4681 | 104.5815
6081632.6531 | optimal - Optimal Solution Found | 133062370.6027 | 33.6254 | 10201669.3878 | 10.2017 | 805.7327 | 1.0368 | 3.1863 | 0.98 | 133062370.6027 | 133.0624 | 6081632.6531 | 6.0816 | 810.6871 | 17.6015 | 121607859.0407 | 121.6079 | 418.7421 | 426.8224 | 524891.5484 | 0.52489 | 422473.965 | 0.42247 | 107.9082 | 418.891 | 468.3979 | 1406253.7352 | 424203.5638 | 107.9082 | 485.4789 | 590.6253 | 1 | 0.95842 | 102.1823 | 163.3264 | 1226.9753 | 102.1823 | 105.1465
5959183.6735 | optimal - Optimal Solution Found | 130134727.7688 | 33.5115 | 10146065.3061 | 10.1461 | 804.2212 | 1.0332 | 3.3694 | 0.98 | 130134727.7688 | 130.1347 | 5959183.6735 | 5.9592 | 807.9813 | 17.2437 | 118732721.6045 | 118.7327 | 418.0069 | 426.1921 | 516251.2195 | 0.51625 | 414016.9552 | 0.41402 | 105.7987 | 418.1557 | 468.2077 | 1400543.3354 | 415717.3769 | 105.7987 | 484.5154 | 590.1447 | 1 | 0.95787 | 102.2519 | 155.6375 | 1217.8766 | 102.2519 | 105.6293
5836734.6939 | optimal - Optimal Solution Found | 127210309.6096 | 33.3925 | 10090461.2245 | 10.0905 | 802.6614 | 1.0296 | 3.5522 | 0.98 | 127210309.6096 | 127.2103 | 5836734.6939 | 5.8367 | 805.2119 | 16.8865 | 115859697.8331 | 115.8597 | 417.2595 | 425.5532 | 507608.8618 | 0.50761 | 405559.7712 | 0.40556 | 103.6892 | 417.4082 | 468.0153 | 1394785.8 | 407230.7214 | 103.6892 | 483.5329 | 589.6626 | 1 | 0.9573 | 102.2962 | 147.9583 | 1208.6883 | 102.2962 | 106.1297
5714285.7143 | optimal - Optimal Solution Found | 124289228.8762 | 33.2681 | 10034857.1429 | 10.0349 | 801.0523 | 1.0259 | 3.7348 | 0.98 | 124289228.8762 | 124.2892 | 5714285.7143 | 5.7143 | 802.3764 | 16.5296 | 112988915.3899 | 112.9889 | 416.4994 | 424.9053 | 498964.3118 | 0.49896 | 397102.2719 | 0.3971 | 101.5797 | 416.6479 | 467.8208 | 1388983.4049 | 398743.4656 | 101.5797 | 482.5306 | 589.1792 | 1 | 0.95671 | 102.3144 | 140.2878 | 1199.411 | 102.3144 | 106.6486
5591836.7347 | optimal - Optimal Solution Found | 121371482.2894 | 33.1383 | 9979253.0612 | 9.9793 | 799.3921 | 1.0223 | 3.9172 | 0.98 | 121371482.2894 | 121.3715 | 5591836.7347 | 5.5918 | 799.4704 | 16.1731 | 110120386.6015 | 110.1204 | 415.7262 | 424.2483 | 490317.2934 | 0.49032 | 388644.2091 | 0.38864 | 99.4702 | 415.8745 | 467.6242 | 1383138.1797 | 390255.369 | 99.4702 | 481.5077 | 588.6943 | 1 | 0.95611 | 102.3057 | 132.6251 | 1190.0431 | 102.3057 | 107.1866
5469387.7551 | optimal - Optimal Solution Found | 118457044.7286 | 33.0027 | 9923648.9796 | 9.9236 | 797.6775 | 1.0187 | 4.0995 | 0.98 | 118457044.7286 | 118.457 | 5469387.7551 | 5.4694 | 796.4897 | 15.8168 | 107254104.9312 | 107.2541 | 414.9392 | 423.5816 | 481667.6707 | 0.48167 | 380185.4723 | 0.38019 | 97.3607 | 415.0873 | 467.4255 | 1377252.256 | 381766.3294 | 97.3607 | 480.4634 | 588.2082 | 1 | 0.9555 | 102.2688 | 124.9695 | 1180.581 | 102.2688 | 107.7448
5346938.7755 | optimal - Optimal Solution Found | 115545934.3104 | 32.8612 | 9868044.898 | 9.868 | 795.9049 | 1.0152 | 4.2817 | 0.98 | 115545934.3104 | 115.5459 | 5346938.7755 | 5.3469 | 793.4304 | 15.4608 | 104390108.113 | 104.3901 | 414.1379 | 422.9051 | 473015.4261 | 0.47302 | 371726.0669 | 0.37173 | 95.2513 | 414.2858 | 467.2249 | 1371327.9288 | 373276.3606 | 95.2513 | 479.3967 | 587.7207 | 1 | 0.95487 | 102.2023 | 117.3204 | 1171.0196 | 102.2023 | 108.324
5224489.7959 | optimal - Optimal Solution Found | 112638072.6405 | 32.7134 | 9812440.8163 | 9.8124 | 794.0691 | 1.0116 | 4.4638 | 0.98 | 112638072.6405 | 112.6381 | 5224489.7959 | 5.2245 | 790.2869 | 15.1049 | 101528340.064 | 101.5283 | 413.3217 | 422.2184 | 464360.5168 | 0.46436 | 363265.976 | 0.36327 | 93.1421 | 413.4694 | 467.0224 | 1365367.3517 | 364785.4533 | 93.1421 | 478.3066 | 587.2319 | 1 | 0.95422 | 102.1043 | 109.6774 | 1161.3519 | 102.1043 | 108.9253
5102040.8163 | optimal - Optimal Solution Found | 109733310.7249 | 32.5588 | 9756836.7347 | 9.7568 | 792.1648 | 1.008 | 4.6459 | 0.98 | 109733310.7249 | 109.7333 | 5102040.8163 | 5.102 | 787.0522 | 14.7491 | 98668672.8387 | 98.6687 | 412.4899 | 421.5211 | 455702.6811 | 0.4557 | 354804.971 | 0.3548 | 91.0332 | 412.6374 | 466.8181 | 1359372.4005 | 356293.3852 | 91.0332 | 477.1921 | 586.7418 | 1 | 0.95355 | 101.973 | 102.0399 | 1151.5692 | 101.973 | 109.5497
4979591.8367 | optimal - Optimal Solution Found | 106831443.7159 | 32.397 | 9701232.6531 | 9.7012 | 790.1872 | 1.0044 | 4.8279 | 0.98 | 106831443.7159 | 106.8314 | 4979591.8367 | 4.9796 | 783.7171 | 14.3935 | 95810920.3193 | 95.8109 | 411.6418 | 420.8129 | 447041.4032 | 0.44704 | 346342.5775 | 0.34634 | 88.9249 | 411.789 | 466.6119 | 1353344.6637 | 347799.6866 | 88.9249 | 476.052 | 586.2505 | 1 | 0.95286 | 101.806 | 94.4071 | 1141.6609 | 101.806 | 110.1985
4857142.8571 | optimal - Optimal Solution Found | 103932130.1354 | 32.2273 | 9645628.5714 | 9.6456 | 788.1293 | 1.0008 | 5.0098 | 0.98 | 103932130.1354 | 103.9321 | 4857142.8571 | 4.8571 | 780.2696 | 14.0379 | 92954763.1027 | 92.9548 | 410.7767 | 420.0932 | 438376.0547 | 0.43838 | 337878.2145 | 0.33788 | 86.8175 | 410.9236 | 466.4039 | 1347285.4597 | 339303.7805 | 86.8175 | 474.8851 | 585.7579 | 1 | 0.95215 | 101.6007 | 86.7785 | 1131.6147 | 101.6007 | 110.8729
4734693.8776 | optimal - Optimal Solution Found | 101035044.6539 | 32.0491 | 9590024.4898 | 9.59 | 785.9842 | 0.99719 | 5.1917 | 0.98 | 101035044.6539 | 101.035 | 4734693.8776 | 4.7347 | 776.6968 | 13.6824 | 90099898.575 | 90.0999 | 409.8936 | 419.3615 | 429706.0063 | 0.42971 | 329411.301 | 0.32941 | 84.7113 | 410.0402 | 466.1941 | 1341196.1338 | 330805.0892 | 84.7113 | 473.6899 | 585.2643 | 1 | 0.95142 | 101.3542 | 79.1533 | 1121.416 | 101.3542 | 111.5743
4612244.898 | optimal - Optimal Solution Found | 98139887.3876 | 31.8617 | 9534420.4082 | 9.5344 | 783.7439 | 0.9936 | 5.3736 | 0.98 | 98139887.3876 | 98.1399 | 4612244.898 | 4.6122 | 772.985 | 13.327 | 87246051.0415 | 87.2461 | 408.9916 | 418.6175 | 421030.686 | 0.42103 | 320941.3129 | 0.32094 | 82.6066 | 409.1379 | 465.9826 | 1335078.1178 | 322303.0919 | 82.6066 | 472.4652 | 584.7694 | 1 | 0.95065 | 101.0632 | 71.531 | 1111.0478 | 101.0632 | 112.3042
4489795.9184 | optimal - Optimal Solution Found | 95246228.9828 | 31.6643 | 9478816.3265 | 9.4788 | 781.3977 | 0.99001 | 5.5555 | 0.98 | 95246228.9828 | 95.2462 | 4489795.9184 | 4.4898 | 769.1175 | 12.9715 | 84392822.4805 | 84.3928 | 408.0698 | 417.8605 | 412349.5704 | 0.41235 | 312467.7763 | 0.31247 | 80.5039 | 408.2157 | 465.7694 | 1328932.7179 | 313797.3177 | 80.5039 | 471.2093 | 584.2735 | 1 | 0.94986 | 100.7239 | 63.9109 | 1100.4899 | 100.7239 | 113.0642
4367346.9388 | optimal - Optimal Solution Found | 92353632.9576 | 31.4557 | 9423212.2449 | 9.4232 | 778.9339 | 0.98642 | 5.7373 | 0.98 | 92353632.9576 | 92.3536 | 4367346.9388 | 4.3673 | 765.0752 | 12.6161 | 81539807.6399 | 81.5398 | 407.127 | 417.0901 | 403662.0309 | 0.40366 | 303990.1167 | 0.30399 | 78.4036 | 407.2726 | 465.5544 | 1322761.1351 | 305287.1942 | 78.4036 | 469.9205 | 583.7765 | 1 | 0.94904 | 100.3319 | 56.2923 | 1089.7194 | 100.3319 | 113.856
4244897.9592 | optimal - Optimal Solution Found | 89461661.0083 | 31.2349 | 9367608.1633 | 9.3676 | 776.3417 | 0.98283 | 5.9192 | 0.98 | 89461661.0083 | 89.4617 | 4244897.9592 | 4.2449 | 760.8365 | 12.2607 | 78686597.3407 | 78.6866 | 406.1622 | 416.3055 | 394967.2535 | 0.39497 | 295507.5802 | 0.29551 | 76.3062 | 406.3074 | 465.3379 | 1316564.395 | 296771.9686 | 76.3062 | 468.5972 | 583.2786 | 1 | 0.94817 | 99.8823 | 48.6745 | 1078.7091 | 99.8823 | 114.6814
4122448.9796 | optimal - Optimal Solution Found | 86566523.7486 | 31.0005 | 9312004.0816 | 9.312 | 773.5698 | 0.97924 | 6.1013 | 0.98 | 86566523.7486 | 86.5665 | 4122448.9796 | 4.1224 | 756.3433 | 11.9049 | 75829441.932 | 75.8294 | 405.1715 | 415.5041 | 386242.3105 | 0.38624 | 286998.0257 | 0.287 | 74.2217 | 405.3163 | 465.1185 | 1310309.991 | 288229.3937 | 74.2217 | 467.3216 | 582.7799 | 1 | 0.94726 | 99.4405 | 41.0481 | 1067.4135 | 99.4405 | 115.4584
4000000 | optimal - Optimal Solution Found | 83668578.6553 | 30.7508 | 9256400 | 9.2564 | 770.609 | 0.97564 | 6.2835 | 0.98 | 83668578.6553 | 83.6686 | 4000000 | 4 | 751.57 | 11.5488 | 72968745.0085 | 72.9687 | 404.154 | 414.6856 | 377491.8859 | 0.37749 | 278466.026 | 0.27847 | 72.1485 | 404.2984 | 464.8965 | 1304007.0099 | 279664.0696 | 72.1485 | 466.0774 | 582.2805 | 1 | 0.94629 | 98.9867 | 33.4149 | 1055.7984 | 98.9867 | 116.2031